{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":30,"n_cols":7,"rows_kept":30,"cut":false,"hidden":false,"merged":[[0,0,0,6]],"flags":["formulas_cached_only"]}
["房屋和环境治理及设施修缮明细表"]
["序号","      项  目","单位","工程量","单 价","合 价","备 注"]
[1,"小路地面垫层","平方米",64]
[2,"小路地面小瓦铺设","平方米",64]
[3,"小路路边拱瓦铺贴","米",190]
[4,"凉亭改造","项",1]
[5,"凉亭手绘","项",1]
[6,"凉亭亮化","项",1,null,null,"顶灯及屋脊亮化"]
[6,"影壁墙砖雕","项",1,null,null,"暂做备选考虑"]
[7,"影壁墙墙面墙裙底子仿砖喷涂","平方",6,null,null,"外墙两遍砂浆 一遍抗碱渗透底漆  两遍外墙漆（灰色）"]
[8,"影壁墙墙面底子处理喷涂","平方米",26,null,null,"外墙两遍砂浆 一遍抗碱渗透底漆  两遍外墙漆（白色）"]
[9,"柱子翻新（含凉亭四根）","个",16,null,null,"原漆清除打磨 新涂装"]
[10,"柱墩抱鼓","个",16,null,null,"石材加工安装"]
[11,"防腐木护栏","米",24.5,null,null,"芬兰木"]
[12,"防腐木凉亭座椅","米",6,null,null,"芬兰木"]
[13,"小桥两边护栏","米",5.6,null,null,"芬兰木"]
[14,"假山吊装重新固定","项",1,null,null,"基层下挖，打混凝土基础镶嵌石头。"]
[15,"办公室墙裙基础处理仿砖喷涂","平方米",56,null,null,"外墙两遍砂浆 一遍抗碱渗透底漆  两遍外墙漆（灰色）"]
[16,"办公室墙面基础处理加喷涂","平方米",162,null,null,"外墙两遍砂浆 一遍抗碱渗透底漆  两遍外墙漆（白色）"]
[17,"雕塑小鹿修复上色","项",1]
[18,"廊架修复","项",1,null,null,"砂浆修复"]
[19,"廊架粉刷上色","平方米",60,null,null,"涂刷防腐木色"]
[20,"2个花瓶拱门修复加墙面喷涂加古建瓦安装","项",1]
[21,"拆除清运","项",1,null,null,"基础破拆及车辆装载运输。"]
[22,"两石狮运输 吊装 底座施工","项",1]
[23,"公园绿化提升（四季青草皮）","平方米",140]
[24,"公园绿化提升（红枫）","棵",2]
[25,"公园绿化提升（金桂）","棵",3]
[26,"公园绿化提升（凌霄）","棵",16]
[27,"措施费","项",1,null,null,"人员保险及围挡封闭施工"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}