{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":9,"n_cols":6,"rows_kept":9,"cut":false,"hidden":false,"merged":[[0,0,0,5],[7,0,7,2],[7,3,7,5],[8,0,8,5]],"flags":["formulas_cached_only"]}
["车棚费用明细单"]
["项目名称","材料规格","单位","数量","单价（元）","金额（元）"]
["膜结构部分","长39*宽2.6米，使用1050克优质PVDF建筑膜材，设计使用寿命15年。含辅材及安装","平方米",101.4]
["钢结构部分","200*100*5.5毫米异性钢梁，国标Q235，油漆为钢结构专用底漆，白瓷面漆。","架",8]
["预埋件","30mmx40mmx16mm铁质钢板","套",8]
["水泥基础","80mmx80mmx80mm","个",8]
["其他费用"]
["费用合计金额："]
["注：以上报价包含钢、膜结构的设计、制作、运输、安装等其他相关费用。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}